# System Product:

# Preface

This computer system validation method, based on the “Nordtest Method of Software Validation” NT Tech Report 535, is basically developed to assist accredited laboratories in validation of computer systems for calibration and testing. The actual report is provided via a Word 2000 template “System Validation Report.dot” which is organized in accordance with the life cycle model used in the validation method. There are two main tasks associated with each life cycle phase:

- Preliminary work. To specify/summarize the requirements (forward/reverse engineering for prospective/retrospective validation), to manage the design and development process, make the validation test plan, document precautions (if any), prepare the installation procedure, and to plan the service and maintenance phase.

- Peer review and test. To review all documents and papers concerning the validation process and conduct and approve the planned tests and installation procedures.

The report template contains 5 sections:

- Objectives and scope of application. Tables to describe the computer system, to list the involved persons, and to specify the type of system in order to determine the extent of the validation.

- System life cycle overview. Tables to specify date and signature for the tasks of preliminary work and the peer reviews assigned to each life cycle phase as described above.

- System life cycle activities. Tables to specify information that is relevant for the validation. It is the intention that having all topics outlined, it should be easier to write the report.

- Conclusion. Table for the persons responsible to conclude and sign the validation report.

- References and annexes. Table of references and annexes.

Even if possible, it is recommended not to delete irrelevant topics but instead mark them as excluded from the validation by a “not relevant” or “not applicable” (n/a) note – preferably with an argument – so it is evident that they are not forgotten but are deliberately skipped.

It is the intention that the validation report shall be a “dynamic” document, which is used to keep track on all changes and all additional information that currently may become relevant for the computer system and its validation. Such current updating can, however, make the document more difficult to read, but never mind – it is the contents, not the format, which is important.

Table of contents

System Product:	1

Preface	1

1	Objectives and scope of application	2

2	System life cycle overview	3

3	System life cycle activities	5

3.1	Requirements and system acceptance test specification	5

3.2	Design and implementation process	9

3.3	Inspection and testing	13

3.4	Precautions	15

3.5	Installation and system acceptance test	16

3.6	Performance, servicing, maintenance, and phase out	18

4	Conclusion	19

5	References and annexes	20

# Objectives and scope of application

This section describes the computer system in general terms. It includes objectives and scope of application and, if relevant, overall requirements to be met (such as standards and regulations).

All persons who are involved in the validation process and are authorized to sign parts of this report should be listed in the Role / Responsibility table. The report could hereafter be signed electronically with date and initials of those persons at suitable stages of the validation process.

The type of the system elements are outlined in order to determine the extent of validation and testing.

| 1.1 Objectives and scope of application |
| --- |
| General description |  |
| Scope of application |  |
| Product information |  |
| Overall requirements |  |

| 1.2 Role / Responsibility | Title and Name | Initials |
| --- | --- | --- |
| System owner |  |  |
| System administrator |  |  |
| Application administrator |  |  |
| System user |  |  |
| Quality responsible |  |  |
| Requirements team... |  |  |
| Development team... |  |  |
| Peer review team... |  |  |
| Testing team... |  |  |

| 1.3 System elements |
| --- |
| Hardware (equipment, server, etc.): Comments: | Environment (building, room, laboratory, etc.): Comments: |
| Comments: |

| 1.4 Type of software |
| --- |
| Purchased Software: Comments: | Self-developed software: Comments: |

# System life cycle overview

This section outlines the activities related to the phases in the life cycle model used in the validation process. The numbers refer to the corresponding subsections in section 3. Each activity contains a field for the preliminary task to be performed, a field for the validation method, and fields to specify the date and signature when the work is done.

| Activity | 2.1 Requirements and system acceptance test specification | Date / Initials |
| --- | --- | --- |
| Task | 3.1.1 Requirements specification |  |
| Method | 3.1.1 Peer review |  |
| Check | 3.1.1 Requirements specification approved |  |
| Task | 3.1.2 System acceptance test specification |  |
| Method | 3.1.2 Peer review |  |
| Check | 3.1.2 System acceptance test specification approved |  |

| Activity | 2.2 Design and implementation process | Date / Initials |
| --- | --- | --- |
| Task | 3.2.1 Design and development planning |  |
| Method | 3.2.1 Peer review |  |
| Task | 3.2.2 Design input |  |
| Method | 3.2.2 Peer review |  |
| Task | 3.2.3 Design output |  |
| Method | 3.2.3 Peer review |  |
| Task | 3.2.4 Design verification |  |
| Method | 3.2.4 Peer review |  |
| Task | 3.2.5 Design changes Description: Description: ... |  |
| Method | 3.2.5 Peer review Action: Action: ... |  |

| Activity | 2.3 Inspection and testing | Date / Initials |
| --- | --- | --- |
| Task | 3.3.1 Inspection plan |  |
| Method | 3.3.1 Inspection |  |
| Check | 3.3.1 Inspection approved |  |
| Task | 3.3.2 Test plan |  |
| Method | 3.3.2 Test performance |  |
| Check | 3.3.2 Test approved |  |

| Activity | 2.4 Precautions | Date / Initials |
| --- | --- | --- |
| Task | 3.4.1 Registered anomalies |  |
| Method | 3.4.1 Peer review |  |
| Task | 3.4.2 Precautionary steps taken |  |
| Method | 3.4.2 Verification of measures |  |

| Activity | 2.5 Installation and system acceptance test | Date / Initials |
| --- | --- | --- |
| Task | 3.5.1 Installation summary |  |
| Method | 3.5.1 Peer review |  |
| Task | 3.5.2 Installation procedure |  |
| Method | 3.5.2 Verification and test of installation |  |
| Task | 3.5.3 System acceptance test preparation |  |
| Method | 3.5.3 System acceptance test |  |
| Check | 3.5.3 System acceptance test approved |  |

| Activity | 2.6 Performance, servicing, maintenance, and phase out | Date / Initials |
| --- | --- | --- |
| Task | 3.6.1 Performance and maintenance |  |
| Method | 3.6.1 Peer review |  |
| Task | 3.6.2 New versions Version: Version: ... |  |
| Method | 3.6.2 Peer review Action: Action: ... |  |
| Task | 3.6.3 Phase out |  |
| Method | 3.6.3 Peer review |  |

# System life cycle activities

This section contains tables for documentation of the system validation activities. Each subsection is numbered in accordance with the overview scheme above. The tables are filled in with information about the tasks to be performed, methods to be used, criteria for acceptance, input and output required for each task, required documentation, the persons that are responsible for the validation, and any other information relevant for the validation process. Topics excluded from being validated are explicitly marked as such.

## Requirements and system acceptance test specification

The requirements describe and specify the computer system completely and are basis for the development and validation process. A set of requirements can always be specified. In case of retrospective validation (where the development phase is irrelevant) it can at least be specified what the system is purported to do based on actual and historical facts. The requirements should encompass everything concerning the use of the system.

| Topics | 3.1.1 Requirements specification |
| --- | --- |
| Objectives Description of the computer system to the extent needed for design, implementation, testing, and validation. |  |
| Version of requirements Version of, and changes applied to, the requirements specification. |  |
| Input All inputs the computer system will receive. Includes ranges, limits, defaults, response to illegal inputs, etc. |  |
| Output All outputs the computer system will produce. Includes data formats, screen presentations, data storage media, printouts, automated generation of documents, etc. |  |
| Functionality All functions the computer system will provide. Includes performance requirements, such as data throughput, reliability, timing, user interface features, etc. |  |
| Traceability Measures taken to ensure that critical user events are recorded and traceable (when, where, whom, why). |  |
| Hardware control All device interfaces and equipments to be supported. |  |
| Limitations All acceptable and stated limitations in the computer system. |  |
| Safety All precautions taken to prevent overflow and malfunction due to incorrect input or use. |  |
| Default settings All settings applied after power-up such as default input values, default instrument or program control settings, and options selected by default. Includes information on how to manage and maintain the default settings. |  |
| Version control How to identify different versions of the computer system and to distinguish output from the individual versions. |  |
| Dedicated platform The hardware and software operating environment in which to use the computer system. E.g. laboratory or office computer, the actual operating system, network, third-party executables such as Microsoft( Excel and Word, the actual version of the platform, etc. |  |
| Installation Installation requirements, e.g. installation kit, support, media, uninstall options, etc. |  |
| How to upgrade How to upgrade to new versions of e.g. service packs, Microsoft( Excel and Word, etc... |  |
| Special requirements Requirements the laboratory is committed to, security, confidentiality, change control and back-up of records, protection of code and data, precautions, risks in case of errors in the computer system, etc. |  |
| Documentation Description of the modes of operation and other relevant information about the computer system. |  |
| User manual User instructions on how to use the computer system. |  |
| On-line help On-line Help provided by Windows programs. |  |
| Validation report Additional documentation stating that the computer system has been validated to the extent required for its application. |  |
| Service and maintenance Documentation of service and support concerning maintenance, future updates, problem solutions, requested modifications, etc. |  |
| Special agreements Agreements between the supplier and the end-user concerning the computer system where such agreements may influence the computer system development and use. E.g. special editions, special analysis, extended validation, etc. |  |
| Supplier audit Formal assessment to verify that the supplier is qualified. |  |
| Phase out Documentation on how (and when) to discontinue the use of the computer system, how to avoid impact on existing systems and data, and how to recover data. |  |
| Errors and alarms How to handle errors and alarms. |  |

The system acceptance test specification contains objective criteria on how the computer system should be tested to ensure that the requirements are fulfilled and that the computer system performs as required in the environment in which it will be used. The system acceptance test is performed after the computer system has been properly installed and thus is ready for the final acceptance test and approval for use.

| Topics | 3.1.2 System acceptance test specification |
| --- | --- |
| Objectives Description of the operating environment(s) in which the computer system will be tested and used. |  |
| Scope Scope of the acceptance test. E.g. installation and version, startup and shutdown, common, selected, and critical requirements, and areas not tested. |  |
| Input Selected inputs the computer system must receive and handle as specified. |  |
| Output Selected outputs the computer system must produce as specified. |  |
| Functionality Selected functions the computer system must perform as specified. |  |
| Personnel Description of operations the actual user(s) shall perform in order to make evident that the computer system can be operated correctly as specified and documented. |  |
| Errors and alarms How to handle errors and alarms. |  |

## Design and implementation process

The design and implementation process is relevant when developing new systems and when handling changes subjected to existing systems. The output from this life cycle phase is a program approved and accepted for the subsequent inspection and testing phase. Anomalies found and circumvented in the design and implementation process should be described in section  3.4, Precautions.

| Topics | 3.2.1 Design and development planning |
| --- | --- |
| Objectives Expected design outcome, time schedule, milestones, special considerations, etc. |  |
| Design plan Description of the computer system e.g. in form of flow-charts, diagrams, notes, etc. |  |
| Development plan Development tools, manpower, and methods. |  |
| Review and acceptance How to review, test, and approve the design plan. |  |

The design input phase establishes that the requirements can be implemented. Incomplete, ambiguous, or conflicting requirements are resolved with those responsible for imposing these requirements. The input design may be presented as a detailed specification, e.g. by means of flow charts, diagrams, module definitions etc.

| Topics | 3.2.2 Design input |
| --- | --- |
| Requirements analysis Examinations done to ensure that the requirements can be implemented. |  |
| System modules Description of the system modules to be implemented. |  |
| Review and acceptance How to review, test, and approve the Design Input section. |  |

The design output must meet the design input requirements, contain or make references to acceptance criteria, and identify those characteristics of the design that are crucial to the safe and proper functioning of the product. The design output should be validated prior to releasing the computer system for final inspection and testing.

| Topics | 3.2.3 Design output |
| --- | --- |
| Implementation (coding and compilation) Development tools used to implement the system, notes on anomalies, plan for module and integration test, etc. |  |
| Version identification How to identify versions - on screen, printouts, etc. Example “Version 1.0.0”. |  |
| Good programming practice Efforts made to meet the recommendations for good programming practice... | Source code is... | Source code contains... |
| Windows programming If implementing Windows applications... | Comments: |
| Dynamic testing Step-by-step testing made dynamically during the implementation... | Comments: |
| Utilities for validation and testing Utilities implemented to assist in validation and testing and specification of the test environment. |  |
| Inactive code Inactive (dead) code left for special purposes. |  |
| Documentation Documentation provided as output from the Design Output section. |  |
| Review and acceptance How to review, test, and approve the Design Output section. |  |

At appropriate stages of design, formal documented reviews and/or verifications of the design should take place before proceeding with the next step of the development process. The main purpose of such actions is to ensure that the design process proceeds as planned.

| Topics | 3.2.4 Design verification |
| --- | --- |
| Review Review current development stage according to the design and development plan. |  |
| Change of plans Steps taken to adjust the development process. |  |

The Design Change section serves as an entry for all changes applied to the computer system, also computer systems being subjected to retrospective validation. Minor corrections, updates, and enhancements that do not impact other modules of the system are regarded as changes that do not require an entire revalidation. Major changes are reviewed in order to decide the degree of necessary revalidation or updating of the requirements and system acceptance test specification.

| Topics | 3.2.5 Design changes | Date / Initials |
| --- | --- | --- |
| Justification Documentation and justification of the change. | Description: Description: ... |  |
| Evaluation Evaluation of the consequences of the change. | Description: Description: ... |  |
| Review and approving Review and approving the change. | Description: Description: ... |  |
| Implementing Implementing and verifying the change. | Action: Action: ... |  |
| Validation The degree of revalidation or updating of requirements. | Action: Action: ... |  |

## Inspection and testing

The inspection and testing of the computer system is planned and documented in a test plan. The extent of the testing is in compliance with the requirements, the system acceptance test specification, the approach, complexity, risks, and the intended and expected use of the computer system.

| Topics | 3.3.1 Inspection plan and performance | Date / Initials |
| --- | --- | --- |
| Design output Results from the Design Output section inspected... | Comments: |  |
| Documentation Documentation inspected... | Comments: |  |
| Software development environment Environment elements inspected... | Comments: |  |
| Result of inspection Approval of inspection. | Comments: |  |

The test plan is created during the development or reverse engineering phase and identify all elements that are about to be tested. The test plan should explicitly describe what to test, what to expect, and how to do the testing. Subsequently it should be confirmed what was done, what was the result, and if the result was approved.

| Topics | 3.3.2 Test plan and performance | Date / Initials |
| --- | --- | --- |
| Test objectives Description of the test in terms of what, why, and how. |  |  |
| Relevancy of tests Relative to objectives and required operational use. |  |  |
| Scope of tests In terms of coverage, volumes, and system complexity. |  |  |
| Levels of tests Module test, integration test, and system acceptance test. |  |  |
| Types of tests E.g. input, functionality, boundaries, performance, and usability. |  |  |
| Sequence of tests Test cases, test procedures, test data and expected results. |  |  |
| Configuration tests Platform, network, and integration with other systems. |  |  |
| Calculation tests To confirm that known inputs lead to specified outputs. |  |  |
| Regression tests To ensure that changes do not cause new errors. |  |  |
| Traceability tests To ensure that critical events during use are recorded and traceable as required. |  |  |
| Special concerns Testability, analysis, stress, reproducibility, and safety. |  |  |
| Acceptance criteria When the testing is completed and accepted. |  |  |
| Action if errors What to do if errors are observed. |  |  |
| Follow-up of tests How to follow-up the testing. |  |  |
| Result of testing Approval of performed tests. | Comments: |  |

## Precautions

When operating in a third-party software environment, such as Microsoft( Windows and Office, some undesirable, inappropriate, or anomalous operating conditions may exist. A discrepancy between the description of the way an instrument should operate, and the way it actually does, may be regarded as an anomaly as well. Minor errors in a computer system may sometimes be acceptable if they are documented and/or properly circumvented.

| Topics | 3.4.1 Registered anomalies |
| --- | --- |
| Operative system Anomalous operating conditions in e.g. Windows. |  |
| Spreadsheet Anomalous operating conditions in e.g. Excel. |  |
| Instruments Anomalous operating conditions in the used instruments. |  |
| General precautions Anomalous operating conditions associated with the computer system itself. |  |

The steps taken to workaround anomalous, inappropriate, or undesired operating conditions are verified and tested.

| Topics | 3.4.2 Precautionary steps taken | Date / Initials |
| --- | --- | --- |
| Operative system Precautionary steps taken in e.g. Windows settings. |  |  |
| Spreadsheet Precautionary steps taken to workaround problems using e.g. Excel. |  |  |
| Instruments Precautionary steps taken to workaround problems with the used instruments. |  |  |
| General precautions Precautionary steps taken to workaround problems with the computer system itself. |  |  |

## Installation and system acceptance test

The validation of the installation process ensures that all system elements are properly installed in the host system and that the user obtains a safe and complete installation, especially when installing software products.

| Topics | 3.5.1 Installation summary |
| --- | --- |
| Installation method Automatic or manual installation... | Comments: |
| Installation media Media containing the installation files... | Comments: |
| Input files List of (relevant) files on the installation media. |  |
| Installed files List of (relevant) installed files, e.g. EXE- and DLL-files, spreadsheet Add-ins and Templates, On-line Help, etc. |  |
| Supplementary files Readme files, License agreements, examples, etc. |  |
| Installed components Description of installed components that require validation. |  |
| Installation qualification How to ensure and document that each component is installed correctly. |  |

The system is tested after the installation to the extent depending on the use of the system and the actual requirements, e.g. an adequate test following the validation test plan. Sometimes it is recommendable to carry out the installation testing in a copy of the true environment in order to protect original data from possible fatal errors due to using a new program.

| Topics | 3.5.2 Installation procedure | Date / Initials |
| --- | --- | --- |
| Authorization Approval of installation in actual environment. | Person responsible: |  |
| Installation test The following installations have been performed and approved... | Comments: |  |

The system acceptance test is carried out in accordance with the system acceptance test specifications after installation. The computer system may subsequently be approved for use.

| Topics | 3.5.3 System acceptance test | Date / Initials |
| --- | --- | --- |
| Test environment The environment in which the system acceptance test has been performed... | Comments: |  |
| Test performance Areas, which have been tested and approved... | Comments: |  |
| User level test Test if users of various skills can use the computer system... | Comments: |  |
| Result of testing Approval for use. | Comments: |  |

## Performance, servicing, maintenance, and phase out

In this phase the computer system is in use and subject to the requirements for service, maintenance, performance, and support. This phase is where all activities during performance reside and where decisions about changes, upgrades, revalidation, and phase out are made.

| Topics | 3.6.1 Performance and maintenance | Date / Initials |
| --- | --- | --- |
| Problem / solution Detection of system problems causing operating troubles. A first step could be to suggest or set up a well-documented temporary solution or workaround. | Problem / solution: Problem / solution: ... |  |
| Functional maintenance E.g. if the computer system is committed to international standards, and these standards are changed, the computer system, or the way it is used, should be updated accordingly. | Function / action: Function / action: ... |  |
| Functional expansion and performance improvement List of suggestions and requests, which can improve the performance of the computer system. |  |  |

When a new version of the computer system is taken into use, the effect on the existing system is carefully analyzed and the degree of revalidation decided. Special attention is paid to the effect on old spreadsheets when upgrading the spreadsheet package.

| Topics | 3.6.2 New versions | Date / Initials |
| --- | --- | --- |
| Description Description of the new version to the extent needed to decide whether or not to upgrade. | Version: Version: ... |  |
| Action Action to be taken if upgrade is decided. See also the Design Changes section. | Action: Action: ... |  |

It is taken into consideration how (and when) to discontinue the use of the computer system. The potential impact on existing systems and data are examined prior to withdrawal.

| Topics | 3.6.3 Phase out | Date / Initials |
| --- | --- | --- |
| How and when To discontinue the use of the computer system. |  |  |
| Consequences Assumed impact on existing systems and data and how to avoid or reduce the harm. |  |  |

# Conclusion

By the subsequent signatures it becomes evident that all validation activities are documented and approved.

| Final approval for use |
| --- |
| Laboratory Identification: |  |
| Responsible for validation: |  |
| Remarks: |
| Date: | Signature: |

| Conclusion |
| --- |
| Comments: |
| Date: | Signature: |

# References and annexes

All external documents (if any) must be dated and signed.